Crystal Structure Report for L Dalton

Submitted by Brenden Carlsson

Sample ID – OsPydPhPorange

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data backup accessibly through ftp:

computer: 		chmraypc.cpac.washington.edu

login: 		anonymous

password:		(your name or email address)

location: 	c:\structures\dalton\brenden\OsPydPhPorange

Data backup accessibly through http:

URL: 	http://cad4.cpac.washington.edu/structures

Username: 	xray-user

Password: 	hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@wintensor.com

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal prism size 0.2 x 0.14 x 0.10 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 		Type	Scanlength (deg.)  start (deg.)	     		     	

1	      	        	182.0					3.70	-0.5	160  	 0

2	      	        	4.5					3.70	94.1	-175.1 	 74.1

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 2o.   Data collection was 85.5% complete to 29.58o and 98.8% complete to 25o  in .  A total of  28660 partial and complete reflections were collected covering the indices, h = -22 to 23, k = -18 to 19,  l = -19 to 19.  4324 reflections were symmetry independent and the Rint = 0.0776 indicated that the data was of average quality (0.07).

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c (No. 15)

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/)2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure.

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

A disordered solvent molecule, CH2Cl2  (disorder not shown in Ortep plot) was found in addition to the Os-complex and PF6-.

Only half of the complex and the PF6- occupy the asymmetric unit. The molecule and the anion are completed by the symmetry of the space group (C 2/c).