Crystal Structure Report for D. Xiao

by

Werner Kaminsky

Sample Submitted by Ashe Kamin

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 6/12/2024

Documentation finished: 6/14/2024

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A tiny colorless shard, measuring 0.08 x 0.04 x 0.02 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.

Crystal-to-detector distance was 40 mm and exposure time was 300 seconds per frame for all sets.  The scan width was 2o.   Data collection was 99.2 % complete to 18o in .  A total of  39751 total reflections were collected covering the indices, -13<=h<=13, -14<=k<=13, 0<=l<=15.  5953 reflections were symmetry independent and the Rint = 0.1795 indicated that the data was weak.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P1  (No. 2).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL. Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Despite the maximum exposure time the device lets select, and measuring several days, the biggest sample found in the batch was just too small.There was no data bejond a resolution of 1.3. Despite this we believe the model structure refined for this sample is accurate.

The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

The structure may be publishable with a disclaimer explaining the small sample size and limited data resolution. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C72 H40 B4 Br4 O8

Formula weight 	1395.92

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P -1

Unit cell dimensions	a = 18.050(4) Å	a= 114.130(17)°.

b = 19.386(4) Å	b= 90.421(17)°.

c = 19.485(5) Å	g = 95.967(16)°.

Volume	6180(2) Å3

Z	2

Density (calculated)	0.750 Mg/m3

Absorption coefficient	1.331 mm-1

F(000)	1392

Crystal size	0.08 x 0.04 x 0.02 mm3

Theta range for data collection	1.136 to 15.968°.

Index ranges	-13<=h<=13, -14<=k<=13, 0<=l<=15

Reflections collected	5953

Independent reflections	5953 [R(int) = 0.1795]

Completeness to theta = 15.968°	99.2 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5953 / 1599 / 781

Goodness-of-fit on F2	0.897

Final R indices [I>2sigma(I)]	R1 = 0.0953, wR2 = 0.2261

R indices (all data)	R1 = 0.2325, wR2 = 0.3041

Largest diff. peak and hole	0.290 and -0.278 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.

(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

(a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13;

(b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.

(c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565