Crystal Structure Report for G. Lalic

by Sarah Flowers and Werner Kaminsky

Sample Submitted by Alison Suess

ID – AMS2069

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 10/27/14

Documentation finished: 11/5/14

Data backup accessibly through http:

URL: 	http://cad4.cpac.washington.edu/structures

Username: 	xray-user

Password: 	hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear colorless piece measuring 0.13 x 0.13 x 0.030 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40.00 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.8 % complete to 25.00o  in .  A total of  33,898 reflections were collected covering the indices, h = -12 to 12, k = -20 to 20,  l = -21 to 21.  11,144 reflections were symmetry independent and the Rint = 0.0500  indicated that the data was better than average quality (0.07).  Indexing and unit cell refinement indicated a Triclinic lattice.  The space group was found to be P -1 (No. 2).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Disorder was found in the isopropyl group containing C40, C41, C42.

The structure is of high quality and ready for publication. Table 1 summarizes the data

Figure 1 shows an ORTEP6 of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and benzene solvent omitted for clarity.

Table 1.  Crystal data and structure refinement for ams2069_0m.

Empirical formula 	C61 H82 Cu2 F4 N4 O3 S

Formula weight 	1154.45

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P -1

Unit cell dimensions	a = 10.3750(5) Å	= 80.046(3)°.

b = 17.0501(9) Å	= 86.037(3)°.

c = 17.5973(8) Å	 = 79.985(3)°.

Volume	3016.8(3) Å3

Z	2

Density (calculated)	1.271 Mg/m3

Absorption coefficient	0.797 mm-1

F(000)	1220

Crystal size	0.13 x 0.13 x 0.03 mm3

Theta range for data collection	1.18 to 25.57°.

Index ranges	-12<=h<=12, -20<=k<=20, -21<=l<=21

Reflections collected	33898

Independent reflections	11144 [R(int) = 0.0500]

Completeness to theta = 25.00°	99.8 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9765 and 0.9034

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	11144 / 15 / 700

Goodness-of-fit on F2	1.029

Final R indices [I>2sigma(I)]	R1 = 0.0454, wR2 = 0.1020

R indices (all data)	R1 = 0.0793, wR2 = 0.1149

Largest diff. peak and hole	0.712 and -0.445 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

6 P. v.d. Sluis & A.L. Spek, BYPASS: an effective method for the refinement of crystal structures containing disordered solvent regions. Acta Cryst. A46, (1990), 194-201.