Crystal Structure Report for Brian Cook

by Werner Kaminsky

ID – BSC1_67

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 2/28/2019

Documentation finished: 3/5/2019

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A brown piece, measuring 0.06 x 0.05 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.6% complete to 25o  in .  A total of  24206 merged reflections were collected covering the indices, -11<=h<=11, -23<=k<=23, -45<=l<=45.  12306 reflections were symmetry independent and the Rint = 0.0349 indicated that the data was good.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No. 14).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The structure appears chemically disordered. While the mayor component at 69% involves CO and NH3 as ligands, the minor component may be assigned to NH2 (because there is not enough space for an NH3) disordered with the CO and Br- disordered with the NH3 of the major component.

Figure 1. ORTEP of the major component of the structure with thermal ellipsoids at the 50% probability level.

Figure 2. ORTEP of the minor component of the structure with thermal ellipsoids at the 50% probability level.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1/2 show ORTEP diagrams of the two different compounds disordered with each other inside the asymmetric unit.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C44.69 H50.69 B Br0.31 F20 Mn N O0.69 P4

Formula weight 	1207.14

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21/c

Unit cell dimensions	a = 8.3407(7) Å	= 90°.

b = 17.4973(15) Å	= 93.943(4)°.

c = 34.099(3) Å	 = 90°.

Volume	4964.7(7) Å3

Z	4

Density (calculated)	1.615 Mg/m3

Absorption coefficient	0.754 mm-1

F(000)	2449

Crystal size	0.060 x 0.050 x 0.050 mm3

Theta range for data collection	1.309 to 28.325°.

Index ranges	-11<=h<=11, -23<=k<=23, -45<=l<=45

Reflections collected	24206

Independent reflections	12306 [R(int) = 0.0349]

Completeness to theta = 25.000°	99.6 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	12306 / 9 / 680

Goodness-of-fit on F2	1.041

Final R indices [I>2sigma(I)]	R1 = 0.0601, wR2 = 0.1556

R indices (all data)	R1 = 0.0938, wR2 = 0.1770

Extinction coefficient	0.0007(2)

Largest diff. peak and hole	2.061 and -0.811 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565