Crystal Structure Report for J. Kovacs

by Werner Kaminsky & Paige Gannon

Sample Submitted by Bennet Karel

ID – BK64_crude

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 8/3/2021

Documentation finished: 8/24/2021

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A black piece, measuring 0.3 x 0.15 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.

Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 96.1% complete to 25o  in .  A total of  12575 independent reflections were collected covering the indices, -11<=h<=11, -11<=k<=11, -5<=l<=43, Rint = 0.0971.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21  (No. 4).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The data appeared twinned. A HKL5 style file was created using twin matrix (-1 0 0,  0 -1 0 , 0.5 0 1). However, the result remained unsatisfactory.

Because of solvent accessible voids in the structure, SQUEEZE was applied to remove the contribution of disordered solvent to the diffraction pattern.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C36 H49 B Fe N4 O S

Formula weight 	652.51

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21

Unit cell dimensions	a = 9.9966(11) Å	a= 90°.

b = 9.9947(12) Å	b= 93.624(5)°.

c = 36.519(4) Å	g = 90°.

Volume	3641.4(7) Å3

Z	4

Density (calculated)	1.190 Mg/m3

Absorption coefficient	0.504 mm-1

F(000)	1392

Crystal size	0.3 x 0.15 x 0.1 mm3

Theta range for data collection	1.117 to 25.180°.

Index ranges	-11<=h<=11, -11<=k<=11, -5<=l<=43

Reflections collected	12575

Independent reflections	12575 [R(int) = 0.0971]

Completeness to theta = 25.000°	96.1 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	12575 / 910 / 687

Goodness-of-fit on F2	0.958

Final R indices [I>2sigma(I)]	R1 = 0.1714, wR2 = 0.3728

R indices (all data)	R1 = 0.1741, wR2 = 0.3760

Absolute structure parameter	0.095(8)

Extinction coefficient	0.48(4)

Largest diff. peak and hole	4.125 and -1.247 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

(a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13;

(b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.

(c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565