Crystal Structure Report for A. Velian

by Dylan Rogers & Werner Kaminsky

Sample Submitted by Ben Mitchell

ID – BSM291

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 10/16/2019

Documentation finished: 11/7/2019

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A black prism, measuring 0.16 x 0.07 x 0.02 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.9% complete to 25o  in .  A total of  46764 unique reflections were collected covering the indices, -24<=h<=24, -25<=k<=25, -43<=l<=43,  Rint = 0.2396.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21  (No. 4).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

It was only in one case possible to identify THF as coordinating to a Zn of one of the clusters. Other solvent was not revealing its identity.

The contribution of disordered solvent to the diffraction pattern (1246 e.Å-3) was removed with SQUEEZE.

The chiral structure was refined as 1:1 enantiomorphic twin (racemate).

The structure is of moderate quality but may be publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. PF6- disorder omitted for clarity. Most solvent SQUEEZEd.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C232 H212 Co12 F12 N12 O P14 Se16 Zn6

Formula weight 	6208.44

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21

Unit cell dimensions	a = 19.436(5) Å	= 90°.

b = 20.618(5) Å	= 105.695(7)°.

c = 34.810(9) Å	 = 90°.

Volume	13429(6) Å3

Z	2

Density (calculated)	1.535 Mg/m3

Absorption coefficient	3.551 mm-1

F(000)	6124

Crystal size	0.160 x 0.070 x 0.020 mm3

Theta range for data collection	1.395 to 24.995°.

Index ranges	-24<=h<=24, -25<=k<=25, -43<=l<=43

Reflections collected	46764

Independent reflections	46764 [R(int) = 0.2396]

Completeness to theta = 24.995°	99.9 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	46764 / 5502 / 2354

Goodness-of-fit on F2	0.992

Final R indices [I>2sigma(I)]	R1 = 0.1319, wR2 = 0.3066

R indices (all data)	R1 = 0.3627, wR2 = 0.4371

Absolute structure parameter	0.5

Largest diff. peak and hole	2.013 and -1.177 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

(a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13;

(b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.

(c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565