Crystal Structure Report for A. Velian

by W. Kaminsky

Sample Submitted by Ben Mitchell

ID – BSM571

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 7/1/2021

Documentation finished: 7/8/2021

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A black prism, measuring 0.17 x 0.15 x 0.13 mm3 cut from a conglomerate was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.

Crystal-to-detector distance was 40 mm and exposure time was 15 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.0% complete to 25o  in .  A total of  51698 reflections were collected covering the indices, -21<=h<=21, -21<=k<=21, -29<=l<=29.  25864 reflections were symmetry independent and the Rint = 0.-621 indicated that the data was of good quality (0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P1  (No. 2).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Crystals were dissected from a larger conglomerate. Some damage or a remaining small piece of another grain may have been present. A twin law was found, and a two-domain integration was tried, however, the data statistics became worse, with less reflections integrated and still some larger residual density peaks remaining.

The asymmetric unit contains two slightly different clusters. But no solvent and no disordered moieties.

The displacement parameters of carbon atoms were stabilized with an ISOR card and 250 bad reflections were removed from the refinement as a result of the possible twinning.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C62 H94 Co6 Mn N2 P6 Se8

Formula weight 	2093.41

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P -1

Unit cell dimensions	a = 17.6675(12) Å	a= 91.591(4)°.

b = 17.9931(13) Å	b= 109.615(4)°.

c = 24.7981(17) Å	g = 93.499(4)°.

Volume	7402.1(9) Å3

Z	4

Density (calculated)	1.878 Mg/m3

Absorption coefficient	5.578 mm-1

F(000)	4116

Crystal size	0.170 x 0.150 x 0.130 mm3

Theta range for data collection	1.135 to 25.027°.

Index ranges	-21<=h<=21, -21<=k<=21, -29<=l<=29

Reflections collected	51698

Independent reflections	25864 [R(int) = 0.0621]

Completeness to theta = 25.000°	99.0 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	25864 / 744 / 1535

Goodness-of-fit on F2	1.084

Final R indices [I>2sigma(I)]	R1 = 0.1103, wR2 = 0.2803

R indices (all data)	R1 = 0.1550, wR2 = 0.3217

Largest diff. peak and hole	5.484 and -2.499 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13;

(b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.

(c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565