Crystal Structure Report for A. Velian

by Sebastian Krajewski &Werner Kaminsky

Sample Submitted by Daniel Zhou

ID – Dz470

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 3/31/2023

Documentation finished: 4/5/2023

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A brown plate, measuring 0.25 x 0.06 x 0.03 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.

Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 99.9% complete to 24.713o in .  A total of  43207 (merged) reflections were collected covering the indices, 0<=h<=35, 0<=k<=35, -66<=l<=66.  21725 reflections were symmetry independent and the Rint = 0.0970 indicated that the data was of acceptable quality.  Indexing and unit cell refinement indicated a body centered tetragonal lattice.  The space group was found to be I41/a:2  (No. 88).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL. Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

DCM is disordered with some ligands and the structure exhibits chemical disorder, where Cu(II) is disordered with Fe(III)Cl in varying amounts for the three pincer locations. The huge amount of disorder required optimizing the phenyl groups, link similar ligand geometries and apply several strategic restraints to stabilize the displacement parameters.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details.

Figure 1a, b show ORTEPs of the majority and minority species inside the asymmetric unit.

a)

b)

Figure 1a/b. ORTEP of the structures with thermal ellipsoids at the 15% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C116.47 H106.94 Cl6.476 Co6 Cu1.464 Fe1.536 N6 P6 Se8

Formula weight 	3170.12

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Tetragonal

Space group 	I 41/a

Unit cell dimensions	a = 30.0518(19) Å	a= 90°.

b = 30.0518(19) Å	b= 90°.

c = 56.484(4) Å	g = 90°.

Volume	51011(7) Å3

Z	16

Density (calculated)	1.651 Mg/m3

Absorption coefficient	3.709 mm-1

F(000)	25028

Crystal size	0.250 x 0.060 x 0.030 mm3

Theta range for data collection	1.276 to 24.713°.

Index ranges	0<=h<=35, 0<=k<=35, -66<=l<=66

Reflections collected	43207

Independent reflections	21725 [R(int) = 0.0970]

Completeness to theta = 24.713°	99.9 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	21725 / 1886 / 1338

Goodness-of-fit on F2	1.040

Final R indices [I>2sigma(I)]	R1 = 0.0918, wR2 = 0.2157

R indices (all data)	R1 = 0.2250, wR2 = 0.2546

Largest diff. peak and hole	1.304 and -0.828 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.

(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565