Crystal Structure Report for

Mohan Rao Kollipara

by Werner Kaminsky

Sample ID

KMR_SA_03

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 11/28/2016

Documentation finished: 12/02/2016

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

An orange block, measuring 0.15 x 0.13 x 0.08 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 3 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.7% complete to 25o  in .  A total of  21807 reflections were collected covering the indices, -15<=h<=14, -17<=k<=17, -28<=l<=42.  10226 reflections were symmetry independent and the Rint = 0.0663 indicated that the data was of good quality.  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be P c a 21  (No.29).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Failing of finding a twin law or any other reason, either a small amount of structural/chemical disorder or a small amount of twinning is responsible for some rest electron density. However, after securing the affected regions in the structure with meaningful restraints, the result is truly representative of the molecular structure of this compound.

The structure is publishable, but needs explanation accompanying the problems. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C22 H26 Cl F6 N5 P Rh

Formula weight 	643.81

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P c a 21

Unit cell dimensions	a = 11.7763(9) Å	= 90°.

b = 13.2147(9) Å	= 90°.

c = 32.248(2) Å	 = 90°.

Volume	5018.4(6) Å3

Z	8

Density (calculated)	1.704 Mg/m3

Absorption coefficient	0.917 mm-1

F(000)	2592

Crystal size	0.15 x 0.13 x 0.08 mm3

Theta range for data collection	1.54 to 28.35°.

Index ranges	-15<=h<=14, -17<=k<=17, -28<=l<=42

Reflections collected	21807

Independent reflections	10226 [R(int) = 0.0663]

Completeness to theta = 25.00°	97.7 %

Max. and min. transmission	0.9302 and 0.8747

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	10226 / 234 / 647

Goodness-of-fit on F2	1.098

Final R indices [I>2sigma(I)]	R1 = 0.0801, wR2 = 0.1874

R indices (all data)	R1 = 0.0943, wR2 = 0.1975

Absolute structure parameter	-0.03(5)

Largest diff. peak and hole	5.337 and -1.788 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565