Crystal Structure Report for J. Kovacs

by Werner Kaminsky

Sample Submitted by Maks Dedushko

ID – Maks1_O2_5days

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 7/24/2020

Documentation finished: 8/7/2020

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A red prism, measuring 0.26 x 0.24 x 0.23 mm3 was exposed to O2 under pressure for 5 days which changed its color to black. It was then mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.9% complete to 25o  in .  A total of  27011 reflections were collected covering the indices, -14<=h<=14, -20<=k<=20, -22<=l<=23.  13800 reflections were symmetry independent and the Rint = 0.0855 indicated that the data was acceptable.  Indexing and unit cell refinement indicated a pseudo monoclinic triclinic lattice.  The space group was found to be P1  (No. 2).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The oxygen exposure changed the lattice parameters of the virgin crystal from (see report ‘Maks1’)

a = 11.4965(3) Å / α= 90.7330(10)°.

b = 16.4387(4) Å / β= 90.2660(10)°.

c = 17.7388(5) Å / γ = 102.329(2)°.

Volume	3274.74(15) Å3

To

a = 11.3060(6) Å / α = 90.120(3)°.

b = 16.4874(9) Å / β = 90.020(3)°.

c = 18.4389(10) Å / γ = 100.081(3)°.

Volume	3384.1(3) Å3

The structure was solved with two chemically disordered components, which included two disordered Ph4B-, the structure from ‘Maks1’ as minor component (10.5%, Figure 1) and a new structure featuring two different oxidization products at 89.5% (Figure 2), with one (Fe2B, Fe2B’) bridged with a single oxygen (O6B). The other three molecules also exhibit N-H…S bridged dimerization.

The structure is of sufficient quality ready for publication. Table 1 summarizes the data collection details.

Figure 1. ORTEP of the minor phase similar to ‘Maks1’ with thermal ellipsoids at the 50% probability level.

Figure 2. ORTEP of the major phase with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C35 H45 B Fe N4 O2.46 S

Formula weight 	659.83

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P -1

Unit cell dimensions	a = 11.3060(6) Å	a= 90.120(3)°.

b = 16.4874(9) Å	b= 90.020(3)°.

c = 18.4389(10) Å	g = 100.081(3)°.

Volume	3384.1(3) Å3

Z	4

Density (calculated)	1.295 Mg/m3

Absorption coefficient	0.546 mm-1

F(000)	1399

Crystal size	0.260 x 0.240 x 0.230 mm3

Theta range for data collection	1.254 to 26.546°.

Index ranges	-14<=h<=14, -20<=k<=20, -22<=l<=23

Reflections collected	27011

Independent reflections	13800 [R(int) = 0.0885]

Completeness to theta = 25.000°	99.9 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	13800 / 574 / 864

Goodness-of-fit on F2	1.048

Final R indices [I>2sigma(I)]	R1 = 0.1385, wR2 = 0.3193

R indices (all data)	R1 = 0.2550, wR2 = 0.4053

Largest diff. peak and hole	1.235 and -0.683 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565