Crystal Structure Report

by Werner Kaminsky

Sample Submitted by

Mouna  Harzallah

ID – Mouna_HM2

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 8/4/2022

Documentation finished: 8/15/2022

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A colorless block, measuring 0.30 x 0.20 x 0.15 mm3 was mounted on a loop with oil.  Data was collected at 22oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 2o.   Data collection was 99.4% complete to 25o  in .  A total of  50975 partial and complete reflections were collected covering the indices, -11<=h<=10, -15<=k<=15, -17<=l<=17.  A total of 6310 merged and 3201 symmetry independent reflections with Rint = 0.0495 were collected.  Indexing and unit cell refinement indicated an orthrhombic lattice.  The space group was found to be P21 21 21  (No.19).

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL. Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The structure of this enantiopure compound (Flack = -0.018(22)) exhibits several van der Waals interaction and one true hydrogen bond (N1-H1..O1 (see tables.rtf, table 6).

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C6 H16 Cl4 Hg N2 O

Formula weight 	474.60

Temperature 	295(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P 21 21 21

Unit cell dimensions	a = 8.5809(3) Å	a= 90°.

b = 11.5849(4) Å	b= 90°.

c = 13.1171(5) Å	g = 90°.

Volume	1303.96(8) Å3

Z	4

Density (calculated)	2.418 Mg/m3

Absorption coefficient	12.596 mm-1

F(000)	888

Crystal size	0.300 x 0.200 x 0.150 mm3

Theta range for data collection	2.346 to 28.243°.

Index ranges	-11<=h<=10, -15<=k<=15, -17<=l<=17

Reflections collected	6310

Independent reflections	3201 [R(int) = 0.0496]

Completeness to theta = 25.000°	99.4 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3201 / 1 / 130

Goodness-of-fit on F2	0.955

Final R indices [I>2sigma(I)]	R1 = 0.0336, wR2 = 0.0721

R indices (all data)	R1 = 0.0600, wR2 = 0.0791

Absolute structure parameter	-0.018(11)

Largest diff. peak and hole	0.747 and -1.761 e.Å-3

Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.

Farrugia, L. J. Appl. Cryst. 1997, 30, 565