Crystal Structure Report for

Peter Dunn

by Werner Kaminsky

ID – Peter_PLD_1

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 3/22/2019

Documentation finished: 3/29/2019

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A yellow plate, measuring 0.16 x 0.10 x 0.04 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.7% complete to 25o  in .  A total of  37137 merged reflections were collected covering the indices, -20<=h<=20, -61<=k<=61, -14<=l<=14.  19144 reflections were symmetry independent and the Rint = 0.0872 indicated that the data was of average quality.  Indexing and unit cell refinement indicated a pseudo-orthorhombic monoclinic lattice.  The space group was found to be P 21/c  (No. 14).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Two very similar complexes occupy the asymmetric unit. The monoclinic angle is 90.092(4), making it impossible to successfully separate two twin domains related by a two-fold rotation about the a-axis during data reduction. There seems to be indeed no orthorhombic space group compatible with the data obtained. A twin card drastically reduced the R1 value and almost removed all rest electron density, with a small amount left indicating the pseudo-merohedral character of the twinning. Some restraints were required as the twinning was not completely resolveable.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C44 H46 Cl2 N2 P4 Ru

Formula weight 	898.68

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21/c

Unit cell dimensions	a = 15.2484(11) Å	= 90°.

b = 46.247(4) Å	= 90.092(4)°.

c = 11.2051(10) Å	 = 90°.

Volume	7901.7(11) Å3

Z	8

Density (calculated)	1.511 Mg/m3

Absorption coefficient	0.730 mm-1

F(000)	3696

Crystal size	0.160 x 0.100 x 0.040 mm3

Theta range for data collection	1.335 to 28.376°.

Index ranges	-20<=h<=20, -61<=k<=61, -14<=l<=14

Reflections collected	37137

Independent reflections	19144 [R(int) = 0.0872]

Completeness to theta = 25.000°	99.7 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	19144 / 600 / 950

Goodness-of-fit on F2	1.025

Final R indices [I>2sigma(I)]	R1 = 0.0981, wR2 = 0.2551

R indices (all data)	R1 = 0.1502, wR2 = 0.2866

Largest diff. peak and hole	6.644 and -3.628 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565