Crystal Structure Report for S. Adhikari

by Werner Kaminsky

ID – SA_SO_450

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 8/20/2024

Documentation finished: 8/29/2024

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A red prism, measuring 0.040 x 0.040 x 0.005 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 65 seconds per degree for all sets.  The scan width was 1.4o.   Data collection was xx.x% complete to 25o  in .  A total of 166355 full and partial and  11597 merged reflections were collected covering the indices, -13<=h<=13, -18<=k<=18, -22<=l<=22.  5965 symmetry independent reflections with Rint = 0.0403 were collected.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No. 14).

The data was integrated and scaled using hkl-SCALEPACK.

Solution by direct methods (SHELXS, SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL. Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The structure is 2-dimensional with disordered DMF and water.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C30 H32 N6 O9 Pb2 S

Formula weight 	1067.05

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21/n

Unit cell dimensions	a = 11.4145(3) Å	a= 90°.

b = 15.5121(5) Å	b= 100.922(2)°.

c = 18.7691(6) Å	g = 90°.

Volume	3263.11(17) Å3

Z	4

Density (calculated)	2.172 Mg/m3

Absorption coefficient	10.433 mm-1

F(000)	2024

Crystal size	0.040 x 0.040 x 0.005 mm3

Theta range for data collection	1.716 to 25.347°.

Index ranges	-13<=h<=13, -18<=k<=18, -22<=l<=22

Reflections collected	11597

Independent reflections	5965 [R(int) = 0.0403]

Completeness to theta = 25.242°	99.8 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5965 / 30 / 464

Goodness-of-fit on F2	1.001

Final R indices [I>2sigma(I)]	R1 = 0.0351, wR2 = 0.0791

R indices (all data)	R1 = 0.0571, wR2 = 0.0863

Largest diff. peak and hole	1.859 and -1.748 e.Å-3

Otwinowsky, Z.; Minor, W. (1997) In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 276, 307-326.

(a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.

(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8

Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. (1995), 51, 416.

Farrugia, L. (1997) J. Appl. Cryst. 30, 565