Crystal Structure Report for Karen Goldberg

by Maike Blakely & Werner Kaminsky

Sample Submitted by Zuzana Culakova

ID – ZC_II_116

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection started: 01/11/2018

Documentation finished: 01/18/2018

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A colorless prism, measuring 0.57 x 0.14 x 0.14 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 5 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.9% complete to 25o in .  A total of 26729 reflections were collected covering the indices, -11<=h<=11, -19<=k<=19, -27<=l<=28.  7167 reflections were symmetry independent and the Rint = 0.0252 indicated that the data was better than average (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be Pmc21 (No. 26).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The crystal was enantiomorphicly twinned, quasi racemic (left-right 1:1). This produces a pseudo-symmetry, which makes it seem like there is a center of symmetry. If that were the case though the triflate ion would have to be disordered, which should also show in the non-centrosymmetric solution, which it does not.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Hydrogen atoms omitted for clarity except for the hydrides.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C23 H36 F3 Ir O5 P2 S

Formula weight 	735.72

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pmc21

Unit cell dimensions	a = 8.9556(7) Å	= 90°.

b = 14.9968(11) Å	= 90°.

c = 21.0354(17) Å	 = 90°.

Volume	2825.2(4) Å3

Z	4

Density (calculated)	1.730 Mg/m3

Absorption coefficient	4.963 mm-1

F(000)	1456

Crystal size	0.57 x 0.14 x 0.14 mm3

Theta range for data collection	1.936 to 28.302°.

Index ranges	-11<=h<=11, -19<=k<=19, -27<=l<=38

Reflections collected	26729

Independent reflections	7167 [R(int) = 0.0252]

Completeness to theta = 25.00°	99.9 %

Max. and min. transmission	0.5752 and 0.7457

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7167/ 1 / 350

Goodness-of-fit on F2	1.035

Final R indices [I>2sigma(I)]	R1 = 0.0155, wR2 = 0.0340

R indices (all data)	R1 = 0.0164, wR2 = 0.0344

Largest diff. peak and hole	0.440 and -0.370 e.Å-3

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565