Crystal Structure Report for M Heinekey

by Werner Kaminsky

Sample Submitted by Dan Brayton

ID – DFB_I_028

X-ray Crystallography Laboratory

University of Washington

28. July 2026

Data Collection  started: 8/16/2017

Documentation finished: 8/30/2017

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

An orange shard, measuring 0.150 x 0.100 x 0.050 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 96.2% complete to 25o in .  A total of 113824 reflections were collected covering the indices, 0<=h<=25, 0<=k<=16, 0<=l<=24.  4828 reflections were symmetry independent and the elevated Rint = 0.1483 indicated a small sample size.  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be P b c n (No. 60).

The data appeared twinned into three domains (CELL_NOW) and after multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker) the data was merged utilizing twinabs.

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

Half of the structure is generated out from the other through a two-fold axis through C1-C8.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C52 H70 Cl2 Ir2 O6 P4

Formula weight 	1370.26

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P b c n

Unit cell dimensions	a = 20.723(2) Å	= 90°.

b = 13.5603(16) Å	= 90°.

c = 19.466(3) Å	 = 90°.

Volume	5470.1(11) Å3

Z	4

Density (calculated)	1.664 Mg/m3

Absorption coefficient	5.121 mm-1

F(000)	2712

Crystal size	0.150 x 0.100 x 0.050 mm3

Theta range for data collection	1.795 to 25.349°.

Index ranges	0<=h<=25, 0<=k<=16, 0<=l<=24

Reflections collected	113824

Independent reflections	4828 [R(int) = 0.1483]

Completeness to theta = 25.000°	96.2 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4828 / 161 / 310

Goodness-of-fit on F2	0.985

Final R indices [I>2sigma(I)]	R1 = 0.0813, wR2 = 0.1618

R indices (all data)	R1 = 0.1684, wR2 = 0.1879

Largest diff. peak and hole	3.465 and -1.839 e.Å-3

Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565