Crystal Structure Report for

Peter Dunn

by Werner Kaminsky

ID – Peter_ dmpeMnBr BArF24 (PD_1)

X-ray Crystallography Laboratory

University of Washington

31. July 2026

Data Collection  started: 5/29/2019

Documentation finished: 7/1/2019

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red prism, measuring 0.26 x 0.26 x 0.24 mm3 was mounted on a loop with oil.  Data was collected at -143oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 30 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1o.   Data collection was 99.9% complete to 25o  in .  A total of  23940 partial and complete reflections were collected covering the indices, -25<=h<=25, -30<=k<=30, -32<=l<=32. 13030 reflections were symmetry independent and the Rint = 0.0455 indicated that the data was brilliant (average quality 0.07).  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be Pbca  (No.61).

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXT or SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The compound is chemically disordered. The asymmetric unit contains one BArF24 and the manganese complex. It appears that Mn is bonding to two Br- atoms with site occupancies 0.71643 and 0.78369. Together this is 1.5 site occupancy for Br- (free refinement gave 1.57, thus the sum of both occupancies was restraint to 1.5). This unfolds to 1:1 mixture of a species with one disordered Br and one with two. The species with a single Br atom thus needs to have a charge of 2+ unless both can be assumed as singly charged. There is no other way unfolding the distribution of electron density around the manganese. Some CF3 disorder in the BArF24 was modelled accordingly.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder of CF3 units omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C88 H88 B2 Br3 F48 Mn2 P8

Formula weight 	2676.57

Temperature 	130(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P b c a

Unit cell dimensions	a = 19.2442(3) Å	= 90°.

b = 22.5786(4) Å	= 90°.

c = 24.2613(4) Å	 = 90°.

Volume	10541.7(3) Å3

Z	4

Density (calculated)	1.686 Mg/m3

Absorption coefficient	1.627 mm-1

F(000)	5332

Crystal size	0.260 x 0.260 x 0.240 mm3

Theta range for data collection	1.624 to 28.303°.

Index ranges	-25<=h<=25, -30<=k<=30, -32<=l<=32

Reflections collected	23940

Independent reflections	13030 [R(int) = 0.0455]

Completeness to theta = 25.000°	99.9 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	13030 / 325 / 740

Goodness-of-fit on F2	1.006

Final R indices [I>2sigma(I)]	R1 = 0.0444, wR2 = 0.1023

R indices (all data)	R1 = 0.0893, wR2 = 0.1186

Largest diff. peak and hole	1.074 and -0.808 e.Å-3

Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.

Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.

Farrugia, L. J. Appl. Cryst. 1997, 30, 565