Crystal Structure Report for K. Goldberg

by Dylan Rogers & Werner Kaminsky

Sample Submitted by Karena Smoll

ID – KAS_V_51

X-ray Crystallography Laboratory

University of Washington

04. May 2018

Data Collection  started: 4/23/2018

Documentation finished: 5/4/2018

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A black plate, measuring 0.20 x 0.09 x 0.04 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.6% complete to 25o  in (.  A total of  65643 reflections were collected covering the indices, -21<=h<=21, -47<=k<=47, -31<=l<=31.  33395 reflections were symmetry independent and the Rint = 0.1966 indicated that the data was challenging.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No.14).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

The contribution of disordered anions/solvent to the diffraction pattern was removed with SQUEEZE

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The Ir-dimers are aligned within one-dim. Infinite chains along the a-axis. Along the same direction are infinite channels which are filled disorderly with anions and potentially solvent. One BARF anion, with disordered CF3 ligands, was identified, a second one only partially. After emptying out the channels and applying SQUEEZE, a usable structure was obtained. The total removed electron density of 4160 electrons is shy of accounting for 12 BARF molecules per unit cell, as SQUEEZE usually underestimates the electron density. 12 dimers account for Foo=6324 electrons in the unit cell, thus 2/3 of electrons of the total electrons are inside the voids.

The structure is of moderate quality but may be publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Anions removed, see text.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C42 H35 Ir2 N10 O2

Formula weight 	1096.20

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P 21/n

Unit cell dimensions	a = 17.9305(11) Å	= 90°.

b = 39.258(4) Å	= 96.948(4)°.

c = 26.208(2) Å	 = 90°.

Volume	18313(3) Å3

Z	12

Density (calculated)	1.193 Mg/m3

Absorption coefficient	4.388 mm-1

F(000)	6324

Crystal size	0.200 x 0.090 x 0.040 mm3

Theta range for data collection	1.552 to 25.349°.

Index ranges	-21<=h<=21, -47<=k<=47, -31<=l<=31

Reflections collected	65643

Independent reflections	33395 [R(int) = 0.1966]

Completeness to theta = 25.000°	99.6 %

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	33395 / 1908 / 1528

Goodness-of-fit on F2	1.018

Final R indices [I>2sigma(I)]	R1 = 0.1030, wR2 = 0.2289

R indices (all data)	R1 = 0.2420, wR2 = 0.2913

Largest diff. peak and hole	2.756 and -4.359 e.Å-3

# Endnotes

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13;

(b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.

(c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565