Crystal Structure Report for J. Kovacs

by Maike Blakely

Sample Submitted by Maike Blakely

ID – mb1160_3

X-ray Crystallography Laboratory

University of Washington

01. February 2017

Data Collection  started: 9/1/2016

Documentation finished: 2/1/2017

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210

Email: kaminsky@chem.washington.edu

Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures.

A black green prism, measuring 0.35 x 0.15 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.

Crystal-to-detector distance was 40 mm and exposure time was 240 seconds per frame for all sets.  The scan width was 1o.   Data collection was 77.6% complete to 25o  in (.  A total of  31546 reflections were collected covering the indices, -16<=h<=17, -15<=k<=15, -18<=l<=17.  7405 reflections were symmetry independent and the Rint = 0.0458 indicated that the data was good.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1 (No. 2).

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.

Solution by direct methods (SHELXS, SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97., Scattering factors are from Waasmair and Kirfel. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.

The structure exhibits extensive disorder in solvents, anions, and molecule ligands.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP of the asymmetric unit.

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 	C40 H78 F12 Fe3 N6 O2 P2 S4

Formula weight 	1260.81

Temperature 	100(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P -1

Unit cell dimensions	a = 13.2731(8) Å	= 95.064(2)°.

b = 13.6099(8) Å	= 105.476(2)°.

c = 16.3002(10) Å	 = 106.629(2)°.

Volume	2675.6(3) Å3

Z	2

Density (calculated)	1.565 Mg/m3

Absorption coefficient	1.101 mm-1

F(000)	1312

Crystal size	0.350 x 0.150 x 0.100 mm3

Theta range for data collection	1.587 to 27.281°.

Index ranges	-16<=h<=17, -15<=k<=15, -18<=l<=17

Reflections collected	31546

Independent reflections	7405 [R(int) = 0.0458]

Completeness to theta = 25.000°	77.6 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.898 and 0.699

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7405 / 490 / 765

Goodness-of-fit on F2	1.024

Final R indices [I>2sigma(I)]	R1 = 0.0646, wR2 = 0.1614

R indices (all data)	R1 = 0.0989, wR2 = 0.1833

Extinction coefficient	n/a

Largest diff. peak and hole	0.991 and -1.419 e.Å-3

# Endnotes

Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.

(a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119.

(b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.

(a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.

(b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.

Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.

Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.

Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565